## Slide 1: Unit-V
Securing the Storage Infrastructure, Managing the Storage Infrastructure: Storage Security Framework, Risk Triad, Storage Security Domains, Security Implementations in Storage Networking Monitoring the Storage Infrastructure, Storage Management Activities, Storage Infrastructure Management Challenges, Developing an Ideal Solution.

## Slide 2: Securing the Storage Infrastructure
Upon completion of this module, you will be able to:
Define storage security
Discuss storage security framework
Describe storage security domains
  Application, Management, Backup Recovery and Archive (BURA)
List the security threats in each domain and describe the controls that can be applied
Discuss the security implementations in SAN, NAS, and IP-SAN environments
Notes: The objectives for this module are listed here. Please take a moment to review them.

## Slide 3: Lesson: Building Storage Security Framework
Upon completion of this lesson, you will be able to:
Define storage security
Discuss the elements to build storage security framework
  Security services
Define Risk triad
Notes: The objectives for this lesson are shown here. Please take a moment to review them.

## Slide 4: What is Storage Security?
Application of security principles and practices to storage networking (data storage + networking) technologies
Focus of storage security: secured access to information
Storage security begins with building a framework
Security
Storage
Networking
Notes: Storage security is the application of information security principles and practices within the domain of storage networking technologies. Storage networking combines data storage technologies (SCSI, RAID, etc.), with various networking technologies (TCP/IP, Fibre-Channel), along with various support services (e.g. the name service protocol at the Fibre-Channel layer).
Storage security is an activity to implement various kinds of safeguards or controls, in order to lessen the risk of an exploitation or a vulnerability in the storage network which could otherwise cause a significant impact to organization’s business. From this perspective, security is an ongoing process, not static and requires continuing revalidation and modification.

## Slide 5: Storage Security Framework
A systematic way of defining security requirements
Framework should incorporates:
  Anticipated security attacks
    Actions that compromise the security of information
  Security measures
    Control designed to protect from these security attacks
Security framework must ensure:
  Confidentiality
  Integrity
  Availability
  Accountability
Notes: The basic security framework is built around the four primary services of security: accountability, confidentiality, integrity, and availability. This framework incorporates all security measures required to mitigate threats to these four primary security attributes.

## Slide 6: Storage Security Framework: Attribute
Confidentiality
  Provides the required secrecy of information
  Ensures only authorized users have access to data
Integrity
  Ensures that the information is unaltered
Availability
  Ensures that authorized users have reliable and timely access to data
Accountability
  Accounting for all events and operations that takes place in data center infrastructure that can be audited or traced later
  Helps to uniquely identify the actor that performed an action
Notes: Confidentiality service: Provides the required secrecy of information and ensures that only authorized users have access to data. This service authenticates users who need to access information and typically covers both data in transit (data transmitted over cables), or data at rest (data on a backup media or in the archives). Data in transit and at rest can be encrypted to maintain its confidentiality. In addition to restricting unauthorized users from accessing information, confidentiality services also implement traffic flow protection measures as part of the security protocol. These protection measures generally include hiding source and destination addresses, frequency of data being sent, and amount of data sent.
Integrity service: Ensures that the information is unaltered. The objective of the service is to detect and protect against unauthorized alteration or deletion of information. Similar to confidentiality services, integrity services work in collaboration with accountability services to identify and authenticate the users. Integrity services stipulate measures for both in-transit data and at-rest data.
Availability service: This ensures that authorized users have reliable and timely access to data. These services enable users to access the required computer systems, data, and applications residing on these systems. Availability services are also implemented on communication systems used to transmit information among computers that may reside at different locations. This ensures availability of information if a failure in one particular location occurs. These services must be implemented for both electronic data and physical data.
Accountability service: Refers to accounting for all the events and operations that takes place in data center infrastructure. The accountability service maintains a log of events that can be audited or traced later for the purpose of security.

## Slide 7: Understanding Security Elements
Risk
Threats
Vulnerabilities
Assets
The Risk Triad
Wish to abuse and/or may damage
Threat Agent
Threat
Vulnerabilities
Asset
Risk
Owner
Give rise to
That exploit
Leading to
to
Countermeasure
impose
to reduce
Value
Notes: Risk triad defines the risk in terms of threats, assets, and vulnerabilities. Risk arises when a threat agent (an attacker) seeks to access assets by exploiting an existing vulnerability. To manage risks, organizations primarily focus on vulnerabilities because they cannot eliminate threat agents that may appear in various forms and sources to its assets. Organizations can install countermeasures to reduce the impact of an attack by a threat agent, thereby reducing vulnerability.
Risk assessment is the first step in determining the extent of potential threats and risks in an IT infrastructure. The process assesses risk and helps to identify appropriate controls to mitigate or eliminate risks. The severity of an adverse event is estimated by the impact that it may have on critical business activities. Based on this analysis, a relative value of criticality and sensitivity can be assigned to IT assets and resources. For example, a particular IT system component may be assigned a high-criticality value if an attack on this particular component can cause a complete termination of mission-critical services.
Lets examine the three key elements of the risk triad.

## Slide 8: Security Elements: Assets
“Information” – The most important asset
Other assets
  Hardware, software, and network infrastructure
Protecting assets is the primary concern
Security mechanism considerations:
  Must provide easy access to information assets for authorized users
  Make it very difficult for potential attackers to access and compromise the system
  Should only cost a small fraction of the value of protected asset
  Should cost a potential attacker more, in terms of money and time
Notes: Information is one of the most important assets for any organization. Other assets include hardware, software, and the network infrastructure required to access this information. Several factors need to be considered when planning for asset security.
Security methods have two objectives.
Ensure that the network is easily accessible to authorized users at all times.
Make it very difficult for potential attackers to access and compromise the system.
These methods should provide adequate protection against unauthorized access to resources, viruses, worms, Trojans and other malicious software programs. Security measures should also encrypt critical data and disable unused services to minimize the number of potential security gaps. In order for the security system to function smoothly, it is important to ensure that all users are informed of the policies governing use of the network.
The effectiveness of a storage security methodology can be measured by two criteria. One, the cost of implementing the system should only be a small fraction of the value of the protected data. Two, it should cost a potential attacker more, in terms of money and time, to compromise the system than the protected data is worth.

## Slide 9: Security Elements: Threats
Potential attacks that can be carried out on an IT infrastructure
  Passive attacks
    Attempts to gain unauthorized access into the system
    Threats to confidentiality of information
  Active attacks
    Data modification, Denial of Service (DoS), and repudiation attacks
    Threats to data integrity and availability
Attack | Confidentiality | Integrity | Availability | Accountability
Access | √ |  |  | √
Modification | √ | √ |  | √
Denial of Service |  |  | √ | 
Repudiation |  | √ |  | √
Notes: Threats are the potential attacks that can be carried out on an IT infrastructure.
Passive attacks are attempts to gain unauthorized access into the system. They pose threats to confidentiality of information.
Active attacks include data modification, Denial of Service (DoS), and repudiation attacks. They pose threats to data integrity and availability.
In a modification attack, the unauthorized user attempts to modify information for malicious purposes. A modification attack can target data at rest or data in
transit. These attacks pose a threat to data integrity.
Denial of Service (DoS) attacks denies the use of resources to legitimate users. These attacks generally do not involve access to or modification of information on the computer system. Instead, they pose a threat to data availability. The intentional flooding of a network or website to prevent legitimate access to authorized users is one example of a DoS attack.
Repudiation is an attack against the accountability of the information. It attempts to provide false information by either impersonating someone or denying that an event or a transaction has taken place.
The table describes different forms of attacks and the security services used to manage them.

## Slide 10: Security Elements: Vulnerabilities
Vulnerabilities can occur anywhere in the system
  An attacker can bypass controls implemented at a single point in the system
  Requires “defense in depth”
Failure anywhere in the system can jeopardize the security of information assets
  Loss of authentication may jeopardize confidentiality
  Loss of a device jeopardizes availability
Notes: The paths that provide access to information are the most vulnerable to potential attacks. Each of these paths may contain various access points, each of which provides different levels of access to the storage resources. It is very important to implement adequate security controls at all the access points on an access path. Implementing security controls at each access point of every access path is termed as defense in depth.
Defense in depth recommends protecting all access points within an environment. This reduces vulnerability to an attacker who can gain access to storage resources by bypassing inadequate security controls implemented at the vulnerable single point of access. Such an attack can jeopardize the security of information assets. For example, a failure to properly authenticate a user may put the confidentiality of information at risk. Similarly, a DoS attack against a storage device can jeopardize information availability.

## Slide 11: Security Elements: Vulnerabilities (cont.)
Understanding Vulnerabilities
  Attack surface
    Refers to various access points/interfaces that an attacker can use to launch an attack
  Attack vectors
    Series of steps necessary to launch an attack
  Work factor
    Amount of time and effort required to exploit an attack vector
Solution to protect critical assets:
  Minimize the attack surface
  Maximize the work factor
  Manage vulnerabilities
    Detect and remove the vulnerabilities, or
    Install countermeasures to lessen the impact
Notes: Attack surface, attack vector, and work factor are the three factors to consider when assessing the extent to which an environment is vulnerable to security threats.
Attack surface refers to the various entry points that an attacker can use to launch an attack. Each component of a storage network is a source of potential vulnerability. All of the external interfaces supported by that component, such as the hardware interfaces, the supported protocols, and the management and administrative interfaces, can be used by an attacker to execute various attacks. These interfaces form the attack surface for the attacker. Even unused network services, if enabled, can become a part of the attack surface.
An attack vector is a step or a series of steps necessary to complete an attack. For example, an attacker might exploit a bug in the management interface to execute a snoop attack whereby the attacker can modify the configuration of the storage device to allow the traffic to be accessed from one more host. This redirected traffic can be used to snoop the data in transit.
Work factor refers to the amount of time and effort required to exploit an attack vector. For example, if attackers attempt to retrieve sensitive information, they consider the time and effort that would be required for executing an attack on a database. This may include determining privileged accounts, determining the database schema, and writing SQL queries. Instead, based on the work factor, they consider a less effort-intensive way to exploit the storage array by attaching to it directly and reading from the raw disk blocks. There is a need to minimize attack surfaces and maximize the work factor to exploit an attack vector.

## Slide 12: Countermeasures to Vulnerability
Implement countermeasures ( safeguards, or controls) in order to lessen the impact of vulnerabilities
Controls are technical or non-technical
  Technical
    implemented in computer hardware, software, or firmware
  Non-technical
    Administrative (policies, standards)
    Physical (guards, gates)
Controls provide different functions
  Preventive
  Corrective
  Detective
Notes: Having assessed the vulnerability of the network environment to security threats, organizations can plan and deploy specific control measures directed at reducing vulnerability by minimizing attack surfaces and maximizing the work factor. These controls can be technical or non-technical.
Technical controls are usually implemented through computer systems, whereas non-technical controls are implemented through administrative and physical controls. Administrative controls include security and personnel policies or standard procedures to direct the safe execution of various operations. Physical controls include setting up physical barriers, such as security guards, fences, or locks. Based on the roles they play, controls can be categorized as preventive, detective, corrective, recovering, or compensating.
The preventive control attempts to prevent an attack; the detective control detects whether an attack is in progress; and after an attack is discovered, the corrective controls are
implemented. Preventive controls avert the vulnerabilities from being exploited and prevent an attack or reduce its impact. Corrective controls reduce the effect of an attack, while detective controls discover attacks and trigger preventive or corrective controls. For example, an Intrusion Detection/Intrusion Prevention System (IDS/IPS) is a detective control that determines whether an attack is underway and then attempts to stop it by terminating a network connection or invoking a firewall rule to block traffic.

## Slide 13: Lesson Summary
Key topics covered in this lesson:
Storage security
Storage security framework
  Security attributes
Security elements
Security controls

## Slide 14: Lesson: Storage Security Domains
Upon completion of this lesson, you will be able to:
Describe the three security domains
  Application
  Management
  Backup & Data Storage
List the security threats in each domain
Describe the controls that can be applied
Notes: The objectives for this lesson are shown here. Please take a moment to review them.

## Slide 15: Storage Security Domains
Secondary
Storage
Backup, Recovery & Archive
Application Access
Data Storage
STORAGE NETWORK
Management Access
: Application Access
Notes: Storage devices that are not connected to a storage network are less vulnerable because they are not exposed to security threats via networks. However, with increasing use of networking in storage environments, storage devices are becoming highly exposed to security threats from a variety of sources. Specific controls must be implemented to secure a storage networking environment.
In order to identify the threats that apply to a storage network, access paths to data storage can be categorized into three security domains: application access, management access, and BURA (backup, recovery, and archive). The figure above depicts the three security domains of a storage system environment.
The first security domain involves application access to the stored data through the storage network. The second security domain includes management access to storage and interconnect devices and to the data residing on those devices. This domain is primarily accessed by storage administrators who configure and manage the environment. The third domain consists of BURA access. Along with the access points in the other two domains, backup media also needs to be secured. To secure the storage networking environment, identify the existing threats within each of the security domains and classify the threats based on the type of security services—availability, confidentiality, integrity, and accountability. The next step is to select and implement various controls as countermeasures to the threats.

## Slide 16: Application Access Domain: Threats
Host A
Host B
Spoofing host/user identity
Spoofing identity
Elevation of
privilege
Array
Volumes
Array
Volumes
Media
theft
LAN
Unauthorized
Host
V2
V2
V2
V2
V2
V2
V2
V2
V1
V1
V1
V1
V1
V1
V1
V1
FC SAN
Notes: The application access domain may include only those applications that access the data through the file system or a database interface. The application access in a storage networking environment is shown here. Host A can access all V1 volumes; host B can access all V2 volumes. These volumes are classified according to access level, such as confidential, restricted, and public.
Some of the possible threat in this scenario could be
host A spoofing the identity or elevating the privileges of host B to gain access to host B’s resources.
an unauthorized host gain access to the network
the attacker on this host may try to spoof the identity of another host and tamper with data, snoop the network, or execute a DoS attack.
Also any form of media theft could also compromise security. These threats can pose several serious challenges to the network security, hence they need to be addressed.
An important step for securing the application access domain is to identify the core functions that can prevent these threats from being exploited and to identify the appropriate controls that should be applied. Implementing physical security is also an important consideration to prevent media theft.

## Slide 17: Securing the Application Access Domain
Threats
Available Controls
Examples
Spoofing User Identity (Integrity, Confidentiality)
Elevation of User privilege (Integrity, Confidentiality)
User Authentication (Technical)
User Authorization (Technical, Administrative)
Strong authentication
NAS: Access Control Lists
Controlling User Access to Data
Spoofing Host Identity (Integrity, Confidentiality)
Elevation of Host privilege (Integrity, Confidentiality)
Host and storage authentication (Technical)
Access control to storage objects (Technical, Administrative)
Storage Access Monitoring (Technical)
iSCSI Storage: Authentication with DH-CHAP
SAN Switches: Zoning
Array: LUN Masking
Controlling Host Access to Data
Notes: Access control services regulate user (and/or Host) access to data. These services mitigate the threats of spoofing user identity and elevating their privileges. Both of these threats affect data integrity and confidentiality.
Technical control in the form of user authentication and administrative control in the form of user authorization are the two access control mechanisms used in application access control. These mechanisms may lie outside the boundaries of the storage network and require various systems to interconnect with other enterprise identity management and authentication systems. NAS devices support the creation of access control lists that are used to regulate user access to specific files. The Enterprise Content Management application enforces access to data by using Information Rights Management (IRM) that specify which users have what rights to a document.
Restricting access at the host level starts with authenticating a node when it tries to connect to a network. Different storage networking technologies, such as iSCSI, FC, and IP-based storage, use various authentication mechanisms, such as Challenge-Handshake Authentication Protocol (CHAP), Fibre Channel Security Protocol (FC-SP), and IPSec, respectively. After a host has been authenticated, the next step is to specify security controls for the storage resources, such as ports, volumes, or storage pools, that the host is authorized to access. Zoning is a control mechanism on the switches that segments the network into specific paths to be used for data traffic; LUN masking determines which hosts can access which storage devices. Some devices support mapping of a host’s WWN to a particular FC port, and from there to a particular LUN. This binding of the WWN to a physical port is the most secure. Finally, it is very important to ensure that administrative controls, such as defined policies and standards, are implemented. Regular auditing is required to ensure proper functioning of administrative controls.

## Slide 18: Securing the Application Access Domain
Threats
Available Controls
Examples
Tampering with data at rest (Integrity)
Media theft (Availability, Confidentiality)
Encryption of data at rest (Technical)
Data integrity (Technical)
Data erasure (Technical)
Storage Encryption Service
NAS: Antivirus and File extension control
CAS: Content Address
Data Erasure Services
Tampering with data in flight (Integrity)
Denial of service (Availability)
Network snooping (Confidentiality)
IP Storage: IPSec
Fibre Channel: FC-SP (FC Security Protocol)
Controlling physical access to Data Center
Infrastructure integrity (Technical)
Storage network encryption (Technical)
Protecting Storage Infrastructure
Protecting Data at rest (Encryption)
Notes: Securing the storage infrastructure from unauthorized access involves protecting all the elements of the infrastructure. Security controls for protecting the storage infrastructure address the threats of unauthorized tampering of data in transit that leads to a loss of data integrity, denial of service that compromises availability, and network snooping that may result in a loss of confidentiality.
The security controls for protecting the network fall into two general categories: connectivity infrastructure integrity and storage network encryption. Controls for ensuring the infrastructure integrity include a fabric switch function to ensure fabric integrity. This is achieved by preventing a host from being added to the SAN fabric without proper authorization. Storage network encryption methods include the use of IPSec, for protecting IP-based storage networks, and FC-SP, for protecting FC networks.
The most important aspect of securing data is protecting data held inside the storage arrays. Threats at this level include tampering with data, which violates data integrity, and media theft, which compromises data availability and confidentiality. To protect against these threats, encrypt the data held on the storage media or encrypt the data prior to being transferred to the disk.
Data should be encrypted as close to its origin as possible. If it is not possible to perform encryption on the host device, an encryption appliance can be used for encrypting data at the point of entry into the storage network. Encryption devices can be implemented on the fabric that encrypts data between the host and the storage media. These mechanisms can protect both the data at rest on the destination device and data in transit.
On NAS devices, adding antivirus checks and file extension controls can further enhance data integrity. In the case of CAS, use of MD5 or SHA-256 cryptographic algorithms guarantee data integrity by detecting any change in content bit patterns. In addition, the CAS data erasure service ensures that the data has been completely scrubbed from the disk before the disk is discarded. An organization’s data classification policy determines whether the disk should actually be scrubbed prior to discarding it as well as the level of erasure needed based on regulatory requirements.

## Slide 19: Management Access Domain: Threats
Host B
Storage
Management
Platform
Host A
Console
or CLI
Spoofing user identity
Elevation of user privilege
FC Switch
Production Host
Spoofing host identity
Production
Storage Array A
Remote
Storage Array B
Storage Infrastructure
Unauthorized
Host
LAN
Notes: Management access, whether monitoring, provisioning, or managing storage resources, is associated with every device within the storage network. Most management software supports some form of CLI, system management console, or a web-based interface. It is very important to implement appropriate controls for securing storage management applications as the damage caused to the storage system by using these applications can be far more extensive. Shown here is a storage networking environment in which production hosts are connected to a SAN fabric and are accessing storage Array A, which is connected to storage Array B for replication purposes. Further, this configuration has a storage management platform on Host B and a monitoring console on Host A. All these hosts are interconnected through an IP network. Some of the possible threats in this system are:
Unauthorized access
Host may spoof the user or host identity to manage the storage arrays or network.
For example, Host A may gain management access to array B. Remote console support for the management software also increases the attack surface. Using remote console support, several other systems in the network may also be used to execute an attack.
Providing management access through an external network increases potential for an unauthorized host or switch to connect to that network. Using secure communication channels, such as Secure Shell (SSH) or Secure Sockets Layer (SSL)/ Transport Layer Security (TLS), provides effective protection against these threats. Event log monitoring helps to identify unauthorized access and unauthorized changes to the infrastructure. The administrator’s identity and role should be secured against any spoofing attempts so an attacker cannot manipulate the entire storage array and cause intolerable data loss by reformatting storage media or making data resources unavailable.

## Slide 20: Securing the Management Access Domain
Threats
Available Controls
Examples
Spoofing User / Administrator identity (Integrity)
Elevation of User / Administrator privilege (Integrity)
User Authentication
User Authorization
Audit (Administrative, Technical)
Authentication: Two factor authentication, Certificate Management
Authorization: Role Based Access Control (RBAC)
Security Information Event Management
Controlling Administrative Access
SSH or SSL over HTTP
Encrypted links between arrays and hosts
Private management network
Disable unnecessary network services
Tempering with data (Integrity)
Denial of service (Availability)
Network snooping (confidentiality)
Mgmt network encryption (Technical)
Mgmt access control (Administrative, Technical)
Protecting Mgmt Infrastructure
Notes: Controlling administrative access to storage aims to safeguard against the threats of an attacker spoofing an administrator’s identity or elevating another user’s identity and privileges to gain administrative access. Both of these threats affect the integrity of data and devices. Security best practices stipulate that no single user should have ultimate control over all aspects of the system. If an administrative user is a necessity, the number of activities requiring administrative privileges should be minimized. Instead, it is better to assign various administrative functions by using role-based access control (RBAC). It is also advisable to consider administrative controls, such as “separation of duties,” when defining data center procedures. Clear separation of duties ensures that no single individual is able to both specify an action and carry it out. Auditing logged events is a critical control measure to track the activities of an administrator. However, access to administrative log files as well as their content must be protected.
Protecting the management network infrastructure is also necessary. Controls to protect the management network infrastructure include encrypting management traffic, enforcing management access controls, and applying IP network security best practices. These best practices include the use of IP routers and Ethernet switches to restrict traffic to certain devices and management protocols. At the IP network layer, restricting network activity and access to a limited set of hosts minimizes the threat of an unauthorized device attaching to the network and gaining access to the management interfaces of all devices within the storage network. Access controls need to be enforced at the storage-array level to specify which host has management access to which array. A separate private management network must be created for management traffic. If possible, management traffic should not be mixed with either production data traffic or other LAN traffic used in the enterprise. Unused network services must be disabled on every device within the storage network. This decreases the attack surface for that device by minimizing the number of interfaces through which the device can be accessed.

## Slide 21: BURA Domain: Threats
Media
theft
Spoofing DR site identity
Storage Array
Storage Array
Local Site
DR Site
Unauthorized
Host
DR
Network
Notes: BURA is the third domain that needs to be secured against attack. A backup involves copying the data from a storage array to backup media, such as tapes or disks. Securing BURA is complex and is based on the BURA software accessing the storage arrays. Organizations must ensure that the DR site maintains the same level of security for the backed up data. Protecting the BURA infrastructure requires addressing several threats, including spoofing the legitimate identity of a DR site, tampering with data, network snooping, DoS attacks, and media theft. Such threats represent potential violations of integrity, confidentiality, and availability.
A generic remote backup design whereby data on a storage array is replicated over a disaster recovery (DR) network to a secondary storage at the DR site is shown here. In a remote backup solution where the storage components are separated by a network, the threats at the transmission layer need to be countered. Otherwise, an attacker can spoof the identity of the backup server and request the host to send its data. The unauthorized host claims to be the backup server at the DR site, which may lead to a remote backup being performed to an unauthorized and unknown site. In addition, attackers can use the connection to the DR network to tamper with data, snoop the network for authentication data, and create a DoS attack against the storage devices.
The physical threat of a backup tape being lost, stolen, or misplaced, especially if the tapes contain highly confidential information, is another type of threat. Backup-to-tape applications are vulnerable to severe security implications if they do not encrypt data while backing it up.

## Slide 22: Protecting Secondary Storage and Replication Infrastructure
Threats
Available Controls
Examples
Spoofing DR site identity (Integrity, Confidentiality)
Tampering with data (Integrity)
Network snooping (Integrity, Confidentiality)
Denial of service (Availability)
Primary to Secondary Storage Access Control (Technical)
Backup encryption (Technical)
Replication network encryption (Technical)
External storage encryption services
Built in encryption at the software level
Secure replication channels (SSL, IPSec)
Notes: Protecting the BURA infrastructure requires addressing several threats. These threats include spoofing of legitimate identity of a DR site, tampering with data, network snooping, and denial of service attacks. Such threats represent potential violations of information integrity, confidentiality, and availability.
Controls available to mitigate the risk created by these threats include encryption to ensure confidentiality and integrity, and access control to lessen the risk of spoofing the DR site identity.

## Slide 23: Lesson Summary
Key topics covered in this lesson:
The three security domains
  Application
  Management
  Backup & Data Storage
Security threats in each domain
Security controls

## Slide 24: Lesson 3: Security Implementations in Storage Networking
Upon completion of this lesson, you will be able to:
SAN security implementations
  SAN security Architecture
  Zoning, LUN masking, Port Binding, ACLs, RBAC, VSAN
NAS security implementations
  ACLs and Permissions
  Kerberos
  Network layer firewalls
IP-SAN security implementations
  CHAP, iSNS discovery domains
Notes: The objectives for this lesson are shown here. Please take a moment to review them.

## Slide 25: Security Implementation in SAN
Traditional FC SANs being isolated is more secure
However, scenario has changed with storage consolidation and larger SAN design that span multiple sites across the enterprise
FC-SP (Fibre Channel Security Protocol)
  Align security mechanisms and algorithms between IP and FC interconnects
This standards describe guidelines for:
  Authenticating FC entities
  Setting up session keys
  Negotiating parameters required to ensure frame-by-frame integrity and confidentiality
Notes: Traditional FC SANs enjoy a natural security advantage over IP-based networks. An FC SAN is configured as an isolated private environment with fewer nodes than an IP network. Consequently, FC SANs impose fewer security threats. However, this scenario has changed with storage consolidation, driving rapid growth and necessitating designs for large, complex SANs that span multiple sites across the enterprise. Today, no single comprehensive security solution is available for SANs. Many SAN security mechanisms have evolved from their counterpart in IP networking, thereby bringing in mature security solutions. FC-SP (Fibre Channel Security Protocol) standards (T11 standards), published in 2006, align security mechanisms and algorithms between IP and FC interconnects. These standards describe protocols used to implement security measures in an FC fabric, among fabric elements and N_Ports within the fabric. They also include guidelines for authenticating FC entities, setting up session keys, negotiating the parameters required to ensure frame-by-frame integrity and confidentiality, and establishing and distributing policies across an FC fabric. The current version of the FC-SP standard is referred to as FC-SP-1.

## Slide 26: SAN Security Architecture – “defense-in-depth”
Authentication at Management Console
(a) Restrict management LAN access to authorized users (lock down MAC addresses)
(b) Implement VPN tunneling for secure remote access to the management LAN
(c) Use two-factor authentication for network access
Block inappropriate or dangerous traffic by:
(a) Filtering out addresses that should not be allowed on your LAN
(b) Screening for allowable protocols—block well-known ports that are not in use
Access Control Switch
Authenticate users/administrators of FC switches using RADIUS (Remote Authentication Dial
In User Service) DH-CHAP (Diffie-Hellman ChallengeHandshake Authentication Protocol), etc.
Security Zone A
Administrator
Security Zone D
Host - Switch
Security Zone G
Switch - Storage
WAN
Security Zone F
Distance Extension
LAN
Security Zone C
Access Control - Switch
Firewall
Security Zone B
Security Zone E
Switch -
Switch/Router
Protect the storage arrays on your SAN via:
(a) WWPN-based LUN masking
(b) S_ID locking: Masking based on source FCID (Fibre Channel ID/Address)
ACL and Zoning
Restrict FC access to legitimate hosts by:
(a) Implementing ACLs: Known HBAs can connect on specific switch ports only
(b) Implementing a secure zoning method such as port zoning (also known as hard zoning)
Implement encryption for in-flight data:
(a) FCsec for long-distance FC extension
(b) IPSec for SAN extension via FCIP
Protect traffic on your fabric by:
(a) Using E_Port authentication
(b) Encrypting the traffic in transit
(c) Implementing FC switch controls and port controls
Notes: SAN security strategies based on defense in depth concept recommends multiple integrated layers of security. This ensures that the failure of one security control will not compromise the assets under protection. Implement security at multiple levels or zones. E.g. these security zones may exist between switches, between servers and switches, between SAN management systems and switches, and between administrators and access control management systems.
SANs not only suffer from certain risks and vulnerabilities that are unique, but also share common security problems associated with physical security and remote administrative access. In addition to implementing SAN-specific security measures, organizations must simultaneously leverage other security implementations in the enterprise. The table provides a comprehensive list of protection strategies that must be implemented in various security zones. Note that some of the security mechanisms listed here are not specific to SAN, but are commonly used data center techniques. For example, two-factor authentication is implemented widely; in a simple implementation it requires the use of a user name/password and an additional security component such as a smart card for authentication.

## Slide 27: Basic SAN Security Mechanism
Security Mechanism in SAN is implemented in various ways:
Array-based Volume Access Control
Security on FC Switch Ports
Switch-wide and Fabric-wide Access Control
Logical Partitioning of a Fabric: VSAN
Notes: LUN masking and zoning, switch-wide and fabric-wide access control, RBAC, and logical partitioning of a fabric (Virtual SAN) are the most commonly used SAN security methods.

## Slide 28: Array-based Volume Access Control
LUN Masking
  Filters the list of LUNS that an HBA can access
S_ID Lockdown (EMC Symmetrix arrays)
  Stronger variant of masking
  LUN access restricted to HBA with the specified 24-bit FC Address (Source ID)
Port zoning
  Zone member is of the form {Switch_Domain_ID, Port_Number}
  Mitigates against WWPN spoofing attacks and route-based attacks
Notes: LUN masking and zoning are the basic SAN security mechanisms used to protect against unauthorized access to storage. Standard implementations of storage arrays mask the LUNs that are presented to a front-end storage port, based on the WWPNs of the source HBAs. A stronger variant of LUN masking may sometimes be offered whereby masking can be done on the basis of source FCIDs. Note that the FCID typically changes if the HBA is relocated across ports in the fabric. To avoid this problem, major switch vendors offer a mechanism to lock down the FCID of a given node port regardless of its location.
Hard zoning or port zoning is the mechanism of choice in security-conscious environments. Unlike soft zoning or WWPN zoning, it actually filters frames to ensure that only authorized zone members can communicate. However, it lacks one significant advantage of WWPN zoning: The zoning configuration must change if the source or the target is relocated across ports in the fabric. There is a trade-off between ease of management and the security provided by WWPN zoning and port zoning.

## Slide 29: Security on FC Switch Ports
Port Binding
  Limits devices that can attach to a particular switch port
  A node must be connected to its corresponding switch port for fabric access
    Mitigates – but does not eliminate - WWPN spoofing
Port Lockdown, Port Lockout
  Restricts the type of initialization of a switch port
  Typical variants include:
    Port cannot function as an E-Port; cannot be used for ISL, e.g. to a rogue switch
    Port role is restricted to just FL-Port, F-Port, E-Port, or some combination
Persistent Port Disable
  Prevents a switch port from being enabled, even after a switch reboot
Notes: Apart from zoning and LUN masking, additional security mechanisms such as port binding, port lockdown, port lockout, and persistent port disable can be implemented on switch ports.
Port binding limits the number of devices that can attach to a particular switch port and allows only the corresponding switch port to connect to a node for fabric access. Port binding mitigates but does not eliminate WWPN spoofing.
Port lockdown and port lockout restrict a switch port’s type of initialization. Typical variants of port lockout ensure that the switch port cannot function as an E_Port and cannot be used to create an ISL, such as a rogue switch. Some variants ensure that the port role is restricted to only FL_Port, F_Port, E_Port, or a combination of these.
Persistent port disable prevents a switch port from being enabled even after a switch reboot.

## Slide 30: Switch-wide and Fabric-wide Access Control
Access Control Lists (ACLs)
  Typically implemented policies may include
    Device Connection Control
      Prevents unauthorized devices (identified by WWPN) from accessing the fabric
    Switch Connection Control
      Prevents unauthorized switches (identified by WWN) from joining the fabric
Fabric Binding
  Prevents unauthorized switch from joining any existing switch in the fabric
RBAC
  Specifies which user can have access to which device in a fabric
Notes: As organizations grow their SANs locally or over longer distances there is a greater need to effectively manage SAN security. Network security can be configured on the FC switch by using access control lists (ACLs) and on the fabric by using fabric binding.
ACLs incorporate the device connection control and switch connection control policies. The device connection control policy specifies which HBAs and storage ports can be a part of the fabric, preventing unauthorized devices (identified by WWPNs) from accessing it. Similarly, the switch connection control policy specifies which switches are allowed to be part of the fabric, preventing unauthorized switches (identified by WWNs) from joining it.
Fabric binding prevents an unauthorized switch from joining any existing switch in the fabric. It ensures that authorized membership data exists on every switch and that any attempt to connect two switches by using an ISL causes the fabric to segment.
Role-based access control provides additional security to a SAN by preventing unauthorized management activity on the fabric for management operations. It enables the security administrator to assign roles to users that explicitly specify privileges or access rights after logging into the fabric. For example, the zoneadmin role is able to modify the zones on the fabric, whereas a basic user may only be able to view fabric-related information, such as port types and logged-in nodes.

## Slide 31: Logical Partitioning of a Fabric: VSAN
Dividing a physical topology into separate logical fabrics
  Administrator allocates switch ports to different VSANs
  A switch port (and the HBA or storage port connected to it) can be in only one VSAN at a time
  Each VSAN has its own distinct active zone set and zones
Fabric Events (e.g. RSCNs) in one VSAN are not propagated to the others
Role-based management
  can be on a per-VSAN basis
VSAN 1 - IT
VSAN 3 - HR
VSAN 2 –
Engineering
Notes: VSANs enable the creation of multiple logical SANs over a common physical SAN. They provide the capability to build larger consolidated fabrics and still maintain the required security and isolation between them. Figure above depicts logical partitioning in a VSAN.
Zoning should be done for each VSAN to secure the entire physical SAN. Each managed VSAN can have only one active zone set at a time. As depicted in the figure, VSAN 1 is the active zone set. The SAN administrator can create distinct VSANs other than VSAN 1 and populate each of them with switch ports. In the example, the switch ports are distributed over three VSANs: 1, 2, and 3—for the IT, Engineering, and HR divisions, respectively. A zone set is defined for each VSAN, providing connectivity for HBAs and storage ports logged into the VSAN. Therefore, each of the three divisions—Engineering, IT, and HR—has its own logical fabric. Although they share physical switching gear with other divisions, they can be managed individually as stand-alone fabrics.
VSANs minimize the impact of fabric wide disruptive events because management and control traffic on the SAN—which may include RSCNs, zone set activation events, and more—does not traverse VSAN boundaries. Therefore, VSANs are a cost-effective alternative for building isolated physical fabrics. They contribute to information availability and security by isolating fabric events and providing a finer degree of authorization control within a single fabric.

## Slide 32: Security Implementation in NAS
Permissions and ACLs
  First level of protection
Authentication and authorization mechanisms
  Kerberos and Directory services
    Identity verification
  Firewalls
    Protection from unauthorized access and malicious attacks
Notes: NAS is open to multiple exploits, including viruses, worms, unauthorized access, snooping, and data tampering. Various security mechanisms are implemented in NAS to secure data and the storage networking infrastructure.
Permissions and ACLs form the first level of protection to NAS resources by restricting accessibility and sharing. These permissions are deployed over and above the default behaviors and attributes associated with files and folders. In addition, various other authentication and authorization mechanisms, such as Kerberos and directory services, are implemented to verify the identity of network users and define their privileges. Similarly, firewalls are used to protect the storage infrastructure from unauthorized access and malicious attacks.

## Slide 33: NAS File Sharing: Windows ACLs
Types of ACLs
  Discretionary access control lists (DACL)
    Commonly referred to as ACL
    Used to determine access control
  System access control lists (SACL)
    Determines what accesses need to be audited if auditing is enabled
Object Ownership
  Object owner has hard-coded rights to that object
    Rights do not have to be explicitly granted in the SACL
  Child objects within a parent object automatically inherit the ACLs
SIDs
  ACLs applied to directory objects
    User ID/Login ID is a textual representation of true SIDs
  Automatically created when a user or group is created
Notes: Windows supports two types of ACLs: discretionary access control lists (DACLs) and system access control lists (SACLs). The DACL, commonly referred to as the ACL, is used to determine access control. The SACL determines what accesses need to be audited if auditing is enabled. In addition to these ACLs, Windows also supports the concept of object ownership. The owner of an object has hard-coded rights to that object, and these rights do not have to be explicitly granted in the SACL. The owner, SACL, and DACL are all statically held as an attribute of each object. Windows also offers the functionality to inherit permissions, which allows the child objects existing within a parent object to automatically inherit the ACLs of the parent object.
ACLs are also applied to directory objects known as SIDs. These are automatically generated by a Windows server or domain when a user or group is created, and they are abstracted from the user. In this way, though a user may identify his or her login ID as “User1,” it is simply a textual representation of the true SID, which is used by the underlying operating system. ACLs are set by using the standard Windows Explorer GUI, but can also be configured with CLI commands or other third-party tools.

## Slide 34: NAS File Sharing: UNIX Permissions
User
  A logical entity for assignment of ownership and operation privileges
  Can be either a person or a system operation
  Can be organized into one or more groups
Permissions tell UNIX what can be done with that file and by whom
Common Permissions
  Read/Write/Execute
Every file and directory (folder) has three access permissions:
  rights for the file owner
  rights for the group you belong to
  rights for all others in the faculty
File or Directory permission looks:
  # rwx rwx rwx (Owner, Group, Others)
  # : d for directory, - for file
Notes: For the UNIX operating system, a user is an abstraction that denotes a logical entity for assignment of ownership and operation privileges for the system. A user can be either a person or a system operation. A UNIX system is only aware of the privileges of the user to perform specific operations on the system, and identifies each user by a user ID (UID) and a user name, regardless of whether it is a person, a system operation, or a device.
In UNIX, a user can be organized into one or more groups. The concept of groups serves the purpose of assigning sets of privileges for a given resource and sharing them among many users that need them. For example, a group of people working on one project may need the same permissions for a set of files.
UNIX permissions specify the operations that can be performed by any ownership relation with respect to a file. In simpler terms, these permissions specify what the owner can do, what the owner group can do, and what everyone else can do with the file. For any given ownership relation, three bits are used to specify access permissions. The first bit denotes read (r) access, the second bit denotes write (w) access, and the third bit denotes execute (x) access. As UNIX defines three ownership relations, (Owner, Group, and All) a triplet (defining the access permission) is required for each ownership relationship, resulting in nine bits.
Each bit can be either set or clear. When displayed, a set bit is marked by its corresponding operation letter (r, w, or x), a clear bit is denoted by a dash (-), and all are put in a row, such as rwxr-xr-x. In this example, the owner can do anything with the file, but group owners and the rest of the world can only read or execute.
When displayed, a character denoting the mode of the file may precede this nine bit pattern. For example, if the file is a directory, it is denoted as “d”; and if it is a link, it is denoted as “l.”

## Slide 35: Authentication and Authorization
Windows and UNIX Considerations
Windows
Authentication
Windows Domain Controller
Active Directory (LDAP)
Kerberos, CHAP
UNIX Authentication
NIS Server
UNIX object
-rwxrwxrwx
Windows object
ACL
SID abc deny write
SID xyz allow write
Authorization
Network
User SID - abc
UNIX Client
Windows Client
User root
NAS Device
Validate DC/NIS connectivity and bandwidth
Multi-protocol considerations
Notes: In a file-sharing environment, NAS devices use standard file-sharing protocols, NFS and CIFS. Therefore, authentication and authorization are implemented and supported on NAS devices in the same way as in a UNIX or Windows files haring environment. Authentication requires verifying the identity of a network user and therefore involves a login credential lookup on a Network Information System (NIS) server in a UNIX environment. Similarly, a Windows client is authenticated by a Windows domain controller that houses the Active Directory. The Active Directory uses LDAP to access information about network objects in the directory, and Kerberos for network security. NAS devices use the same authentication techniques to validate network user credentials. Active Directory, LDAP, and Kerberos are discussed later in this chapter. The figure above depicts the authentication process in a NAS environment.
Authorization defines user privileges in a network. The authorization techniques for UNIX users and Windows users are quite different. UNIX files use mode bits to define access rights granted to owners, groups, and other users, whereas Windows uses an ACL to allow or deny specific rights to a particular user for a particular file.
Although NAS devices support both of these methodologies for UNIX and Windows users, complexities arise when UNIX and Windows users access and share the same data. If the NAS device supports multiple protocols, the integrity of both permission methodologies must be maintained. NAS device vendors provide a method of mapping UNIX permissions to Windows and vice versa, so a multiprotocol environment can be supported.

## Slide 36: Kerberos
A network authentication protocol
  Uses secret-key cryptography.
  A client can prove its identity to a server (and vice versa) across an insecure network connection
  Kerberos client
    An entity that gets a service ticket for a Kerberos service.
    A client is can be a user or host
  Kerberos server
    Refers to the Key Distribution Center
    Implements the Authentication Service (AS) and the Ticket Granting Service (TGS)
  Application can make use of Kerberos tickets to verify identity and/or encrypt data
Notes: Kerberos is a network authentication protocol. It is designed to provide strong authentication for client/server applications by using secret-key cryptography. The Kerberos protocol uses strong cryptography so that a client can prove its identity to a server (and vice versa) across an insecure network connection. After a client and server have used Kerberos to prove their identity, they can also encrypt all of their communications to assure privacy and data integrity as they go about their business.
In Kerberos, all authentications occur between clients and servers. The client gets a ticket for a service, and the server decrypts this ticket by using its secret key. Any entity, user, or host that gets a service ticket for a Kerberos service is called a Kerberos client. The term Kerberos server generally refers to the Key Distribution Center (KDC). The KDC implements the Authentication Service (AS) and the Ticket Granting Service (TGS). The KDC has a copy of every password associated with every principal, so it is absolutely vital that the KDC remain secure.
In a NAS environment, Kerberos is primarily used when authenticating against a Microsoft Active Directory domain although it can be used to execute security functions in UNIX environments.

## Slide 37: Kerberos authorization
Windows
Client
KDC
ID Prrof (1)
TGT + Server name (3)
TGT (2)
KerbC (KerbS TKT) (5)
Active
Directory
(4)
NAS
Device
CIFS
Service
Keytab
(7)
CIFS Server
Notes: The Kerberos authorization process shown in the above figure includes the following steps:
1. The user logs on to the workstation in the Active Directory domain (or forest) using an ID and a password. The client computer sends a request to the AS running on the KDC for a Kerberos ticket. The KDC verifies the user’s login information from Active Directory. (Note that this step is not explicitly shown in Figure 15-8.)
2. The KDC responds with a TGT (TKT is a key used for identification and has limited validity period). It contains two parts, one decryptable by the client and the other by the KDC.
3. When the client requests a service from a server, it sends a request, composed of the previously generated TGT and the resource information, to the KDC.
4. The KDC checks the permissions in Active Directory and ensures that the user is authorized to use that service.
5. The KDC returns a service ticket to the client. This service ticket contains fields addressed to the client and to the server that is hosting the service.
6. The client then sends the service ticket to the server that houses the desired resources.
7. The server, in this case the NAS device, decrypts the server portion of the ticket and stores the information in a keytab file. As long as the client’s Kerberos ticket is valid, this authorization process does not need to be repeated. The server automatically allows the client to access the appropriate resources.
8. A client/server session is now established. The server returns a session ID to the client, which is used to track client activity, such as file locking, as long as the session is active.

## Slide 38: Network Layer Firewalls
Implemented in NAS environments
  To protect against IP security threats
Make decisions on traffic filtering
  Comparing them to a set of configured security rules
    Source address
    Destination address
    Ports used
  DMZ is common firewall implementation
Private Network
External Network
Application Server
Demilitarized Zone
Notes: Because NAS devices utilize the IP protocol stack, they are vulnerable to various attacks initiated through the public IP network. Network layer firewalls are implemented in NAS environments to protect the NAS devices from these security threats. These network-layer firewalls are capable of examining network packets and comparing them to a set of configured security rules. Packets that are not authorized by a security rule are dropped and not allowed to continue to the requested destination. Rules can be established based on a source address (network or host), a destination address (network or host), a port, or a combination of those factors (source IP, destination IP, and port number). The effectiveness of a firewall depends on how robust and extensive the security rules are. A loosely defined rule set can increase the probability of a security breach. Figure shown here depicts a typical firewall implementation.
Demilitarized zone (DMZ) is commonly used in networking environments. A DMZ provides a means of securing internal assets while allowing Internet-based access to various resources. In a DMZ environment, servers that need to be accessed through the Internet are placed between two sets of firewalls. Application-specific ports, such as HTTP or FTP, are allowed through the firewall to the DMZ servers. However, no Internet-based traffic is allowed to penetrate the second set of firewalls and gain access to internal network. The servers in the DMZ may or may not be allowed to communicate with internal resources. In such a setup, the server in the DMZ is an Internet-facing Web application that is accessing data stored on a NAS device, which may be located on the internal private network. A secure design would only serve data to internal and external applications through the DMZ.

## Slide 39: Securing Implementation in IP SAN
Challenge-Handshake Authentication Protocol (CHAP)
  Basic Authentication Mechanism
  Authenticates a user to a network resource
  Implemented as:
    One way
      Authentication password configured on only one side of the connection
    Two way
      Authentication password configured on both sides of the connection, requiring both nodes to validate the connection e.g. mutual authentication
Notes: The Challenge-Handshake Authentication Protocol (CHAP) is a basic authentication mechanism that has been widely adopted by network devices and hosts. CHAP provides a method for initiators and targets to authenticate each other by utilizing a secret code or password. CHAP secrets are usually random secrets of 12 to 128 characters. The secret is never exchanged directly over the wire; rather, a one-way hash function converts it into a hash value, which is then exchanged. A hash function, using the MD5 algorithm, transforms data in such a way that the result is unique and cannot be changed back to its original form.

## Slide 40: One-Way CHAP Authentication
2. CHAP Challenge sent to Initiator
One-Way CHAP Authentication
1. Initiates a logon to the target
3. Takes shared secret
calculates value using
a one-way hash function
4. Returns hash value to target
5. Computes the expected hash value
from the shared secret. Compares
to value received from initiator.
6. If values match, authentication acknowledged
Target
Initiator
Notes: The above figure illustrates the CHAP authentication process.
If the initiator requires reverse CHAP authentication, the initiator authenticates the target by using the same procedure. The CHAP secret must be configured on the initiator and the target. A CHAP entry, comprising the name of a node and the secret associated with the node, is maintained by the target and the initiator.

## Slide 41: Two-Way CHAP Authentication
2. CHAP Challenge sent to Initiator
Two-Way CHAP Authentication
1. Initiates a logon to the target
3. Takes shared secret
calculates value using
a one-way hash function
4. Returns hash value to target
5. Computes the expected hash value
from the shared secret. Compares
to value received from initiator.
6. If values match, authentication acknowledged
7. CHAP Challenge sent to Target
9. Returns hash value to Initiator
8. Takes shared secret
calculates value using
a one-way hash function
11. If values match, authentication acknowledged
10. Computes the expected hash value
from the shared secret. Compares
to value received from target.
Target
Initiator
Notes: The same steps are executed in a two-way CHAP authentication scenario. After these steps are completed, the initiator authenticates the target. If both authentication steps succeed, then data access is allowed. CHAP is often used.

## Slide 42: Securing IPSAN with iSNS discovery domains
Management
Platform
iSNS
Host A
Host B
Host C
Device A
Device B
iSNS can be integral
to the cloud or
management station
Two
Discovery
Domains
Notes: iSNS discovery domains function in the same way as FC zones. Discovery domains provide functional groupings of devices in an IP-SAN. In order for devices to communicate with one another, they must be configured in the same discovery domain. State change notifications (SCNs) tell the iSNS server when devices are added or removed from a discovery domain. Figure shown here illustrates the discovery domains in iSNS.

## Slide 43: Lesson Summary
Key topics covered in this lesson:
SAN security Architecture
Basic SAN security mechanisms
  Zoning, Lun masking, Port Binding, ACLs, RBAC, VSAN
NAS security mechanisms
  ACLs and Permissions
  Kerberos
  Network layer firewalls
IP-SAN security mechanisms
  CHAP, iSNS discovery domains

## Slide 44: Module Summary
Key points covered in this module:
Storage Security framework
Storage security domains
  Application, Management, Backup Recovery and Archive (BURA)
Controls that can be deployed against identified threats in each domain
SAN security architecture
Protection mechanisms in SAN, NAS, and IP-SAN environments
Notes: These are the key points covered in this module. Please take a moment to review them.

## Slide 45: Check Your Knowledge
What are the primary security attributes?
What are the three data security domains?
What are the basic SAN security mechanism?
How is security implemented in NAS?
What are the two authentication mechanism in IP SAN?


## Slide 46: Managing the Storage Infrastructure

## Slide 47: Managing the Storage Infrastructure
After completing this module, you will be able to:
Discuss the major storage infrastructure components that should be monitored
Detail monitoring parameters
Discuss the storage management activities
Describe the storage infrastructure management challenges and their solution
Define storage management initiative specification (SMI-S)
Notes: In this module, you learn about different aspects of monitoring data center components, including the benefits of pro-active monitoring and the challenges of managing a heterogeneous environment (multiple hardware/software from various vendors).

## Slide 48: Storage Infrastructure Management
Managing storage infrastructure is key to ensures continuity of business
Establishing management processes and implementing appropriate tools is essential to meeting service levels proactively
Management activities include availability, capacity, performance, and security management
Monitoring is the most important aspects that forms basis for storage management
Continuous monitoring enables availability and scalability by taking proactive measures
Notes: Proliferation of applications, complexity of business processes, and requirements of 24×7 availability of information have put increasingly higher demands on IT infrastructure. Managing storage infrastructure is a key that enables organizations to address these challenges and ensures continuity of business. Comprehensive storage infrastructure management requires the implementation of intelligent processes and tools. This ensures availability and performance of all storage infrastructure elements, greater data protection and security, centralized auditing, and meeting compliance requirements. It also ensures the consolidation and better utilization of resources, limiting the need for excessive investment in technology, and helps to efficiently leverage existing resources.
Managing the storage infrastructure comprises various activities including availability, capacity, performance, and security management. Each of these aspects are interrelated and must work together to maximize the return on investment. Virtualization technologies have dramatically changed the storage management scenario and have simplified the storage infrastructure management. Monitoring is one of the most important aspects that forms the basis for managing a storage infrastructure. Monitoring enables the identification status of various storage components and provides information to perform essential management activities. The management of the storage infrastructure components begins with defining products and services followed by defining service levels for these products and services. The service level defines the scope of the service, the associated security definitions, level of criticality to the business, and severity or priority levels. It also defines the response time associated with each level, hours of normal operation, promises of quality, and speed of service. These service levels are defined with metrics that can be monitored and measured. Establishing management processes and implementing appropriate tools is the key to meeting service levels proactively. The management process establishes procedures for efficient handling of incidents, problems, and change requests to the storage infrastructure environment. It is imperative to manage not just the individual components, but the storage infrastructure end-to-end due to the components’ interdependency.

## Slide 49: Lesson: Monitoring the Storage Infrastructure
Upon completion of this lesson, you will be able to:
Discuss the major storage infrastructure components that should be monitored
Describe what is to be monitored for the various storage infrastructure components
Discuss alerting of events
Notes: The objectives for this lesson are shown here. Please take a moment to review them.

## Slide 50: Monitoring Storage Infrastructure
Accessibility
Capacity
Performance
Security
Network
HBA
Port
HBA
Cluster
Keep Alive
Client
Port
Storage Arrays
Hosts/Servers with Applications
SAN
IP
Notes: Monitoring helps to analyze the status and utilization of various storage infrastructure components. This analysis facilitates optimal use of resources and proactive management. Monitoring supports capacity planning, trend analysis, and root cause/impact analysis. As the business grows, monitoring helps to optimize the storage infrastructure resources. The monitoring process also includes the storage infrastructure’s environmental controls and the operating environments for key components such as storage arrays and servers.
The major storage infrastructure components that should be monitored
  Servers, databases and applications
  Network (SAN and IP)
  Storage arrays
Each of these components should be monitored for accessibility, capacity, performance and security.

## Slide 51: Parameters Monitored – Accessibility
Accessibility refers to the availability of a component to perform a desired operation
Why monitor accessibility of different components?
  Failure of any hardware/software component can lead to outage of a number of different components
    Example: HBA failure could cause degraded access to a number of devices in multi-path environment or loss of data access in single path environment
Monitoring accessibility involves
  Checking availability status of the hardware or software components through predefined alerts
Notes: Accessibility refers to the availability of a component to perform a desired operation.
A component is said to be accessible when it is functioning without any fault at any given point in time. Monitoring hardware components (e.g., a SAN interconnect device, a port, an HBA, or a disk drive) or software components (e.g.,a database instance) for accessibility involves checking their availability status by listening to pre-determined alerts from devices. For example, a port may go down resulting in a chain of availability alerts. A storage infrastructure uses redundant components to avoid a single point of failure. Failure of a component may cause an outage that affects application availability, or it may cause serious performance degradation even though accessibility is not compromised.
For example, an HBA failure can restrict the server to a few paths for access to data devices in a multipath environment, potentially resulting in degraded performance. In a single-path environment, an HBA failure results in complete accessibility loss between the server and the storage.
Continuously monitoring for expected accessibility of each component and reporting any deviations helps the administrator to identify failing components and plan corrective action to maintain SLA requirements.

## Slide 52: Parameters Monitored – Capacity
Capacity refers to the amount of storage infrastructure resources available
Why monitor capacity?
  Capacity monitoring prevents outages before they can occur
    Inadequate capacity may lead to degraded performance or affect application/service availability
  More preventive and predictive in nature
    Report indicates 90% of all the ports have been utilized in SAN, a new switch must be added if more arrays/servers are to be added
Notes: Capacity refers to the amount of storage infrastructure resources available.
Examples of capacity monitoring include
Examining the free space available on a file system or a RAID group
The mailbox quota allocated to users
The numbers of ports available on a switch.
Inadequate capacity may lead to degraded performance or affect accessibility or even application/service availability. Capacity monitoring ensures uninterrupted data availability and scalability by averting outages before they occur. For example, if a report indicates that 90 percent of the ports are utilized in a particular SAN fabric, a new switch should be added if more arrays and servers need to be installed on the same fabric. Capacity monitoring is preventive and predictive, usually leveraged with advanced analytical tools for trend analysis. These trends help to understand emerging challenges, and can provide an estimation of time needed to meet them.

## Slide 53: Parameters Monitored – Performance
Performance monitoring evaluates how efficiently different components are performing
Why monitor Performance metrics?
  Want all data center components to work efficiently/optimally
  Helps to identify performance bottlenecks
  Measures and analyzes the ability to perform at a certain predefined level
Examples
  Number of I/Os to disks
  Application response time
  Network utilization
  Server CPU utilization
Notes: Performance monitoring evaluates how efficiently different storage infrastructure components are performing and helps to identify bottlenecks. Performance monitoring usually measures and analyzes behavior in terms of response time or the ability to perform at a certain predefined level. It also deals with utilization of resources, which affects the way resources behave and respond. Performance measurement is a complex task that involves assessing various components on several interrelated parameters. The number of I/Os to disks, application response time, network utilization, and server CPU utilization are examples of performance monitoring.

## Slide 54: Parameters Monitored – Security
Monitoring security helps to track and prevent unauthorized access
Why monitor security?
  Need to be protected for confidentiality, integrity and availability
  To meet regulatory compliance
Examples
  Tracking and reporting changes made to zoning configurations
  Physical security through badge readers, scanners and cameras
Monitoring Environmental parameters
  Temperature, humidity, airflow, hazards (water, smoke, etc.)
  Voltage – power supply
Notes: Monitoring a storage infrastructure for security helps to track and prevent unauthorized access and login failures, whether accidental or malicious. Security monitoring also helps to tracks unauthorized configuration changes of storage infrastructure elements. For example, security monitoring tracks and reports the initial zoning configuration performed and all subsequent changes. Physical security of a storage infrastructure is also continuously monitored using badge readers, biometric scans, or video cameras.

## Slide 55: Monitoring Hosts
Accessibility
  Hardware components: HBA, NIC, graphic card, internal disk
  Status of various processes/applications
Capacity
  File system utilization
  Database: Table space/log space utilization
  User quota
Performance
  CPU and memory utilization
  Transaction response times
Security
  Login and authorization
  Physical security (Data center access)
Host
HBA
HBA
Notes: Mission-critical application hosts should be monitored continuously. The accessibility of a host depends on the status of the hardware components and software processes running on it. For example, an application crash due to host hardware failure can cause instant unavailability of the data to the user. Servers are used in a cluster to ensure high availability. In a server virtualization environment, multiple virtual machines share a pool of resources. These resources are dynamically reallocated, which ensures application accessibility and ease of management.
Hosts also need to be monitored for capacity. For example capacity monitoring helps in estimating the file system’s growth rate and predicting when it will reach 100 percent. Accordingly, the administrator can extend (manually or automatically) the file system’s space proactively to prevent a failure resulting from a file system being full.
Performance is another important aspect of host monitoring and depends on I/O profile, utilization of CPU and memory. For example, if a server running an application is experiencing 80 percent of CPU utilization continuously, this suggests that server may be running out of processing power, which can lead to degraded performance and slower response time. Administrators can take several actions to correct the problem, such as upgrading or adding more processors, shifting the workload to different servers, and restricting the number of simultaneous client access. In a virtualized environment, CPU and memory may be allocated dynamically from another physical server or from the same server. Memory utilization is measured by the amount of free memory available. Insufficient memory leads to excessive swapping and paging on the disk, which in turn affects response time to the applications.
Security monitoring on servers involves tracking of login failures and execution of unauthorized applications or software processes. Proactive measures against unauthorized access to the servers are based on the threat identified. For example, an administrator can block access to an unauthorized user if multiple login failures are logged.

## Slide 56: Monitoring the SAN
Accessibility
  Fabric errors, zoning errors, GBIC failure
  Device status/attribute Change
  Processor cards, fans, power supplies
Capacity
  ISL and port utilization
Performance
  Connectivity ports
    Link failures, Loss of signal, Link utilization
  Connectivity devices
    Port statistics
Security
  Zoning and LUN Masking
  Administrative Tasks and physical security
    Authorized Access, Strict Passwords
SAN
Notes: Uninterrupted access to data over the storage network depends on accessibility of the physical and logical components in storage network. Physical components of a storage network include elements such as switches, ports, cables, GBICs, and power supplies. The logical components include constructs, such as zones and fabrics. Any failure in the physical or logical components may cause data unavailability. For example, errors in zoning such as specifying the wrong WWN of a port results in failure to access that port, which potentially prevents access from a host to its storage.
Capacity monitoring in a storage network involves monitoring the availability of ports on a switch, number of available ports in the entire fabric, utilization of ISLs, individual ports, and each interconnect device in the fabric. Capacity monitoring provides all required inputs for future planning and optimization of the fabric with additional interconnect devices.
Monitoring the performance of a storage network is useful in assessing individual component performance and helps to identify network bottlenecks. For example, monitoring port performance is done by measuring receive or transmit link utilization metrics, which indicate how busy the switch port is, based on expected maximum throughput. Heavily used ports can cause queuing delays on the server. For IP networks, monitoring performance includes monitoring network latency, packet loss, bandwidth utilization for I/O, network errors, and collisions.
Storage network security monitoring provides information for any unauthorized change to the configuration of the fabric—for example, changes to the zone policies that can affect data security. Login failures and unauthorized access to switches for performing administrative changes should be logged and monitored continuously.

## Slide 57: Monitoring Storage Arrays
Accessibility
  All Hardware components
  Array Operating Environment
    RAID processes
    Environmental Sensors
    Replication processes
Capacity
  Configured/un-configured capacity
  Allocated/unallocated storage
  Fan-in/fan-out ratios
Performance
  FE and BE utilization/throughput
  I/O profile, response time, cache metrics
Security
  Physical and administrative security
Storage Array
Notes: The accessibility of the storage array should be monitored for its hardware components and various processes. Storage arrays configured with redundant components do not affect accessibility in the event of an individual component failure, but failure of any process can disrupt or compromise business continuity operations. For example, the failure of a replication task affects disaster recovery capabilities. Some storage arrays also provide the capability to send a message to the vendor’s support center in the event of hardware or process failures, referred to as a call home.
Capacity monitoring of a storage array enables the administrator to respond to storage needs as they occur. Information about fan-in or fan-out ratios and the availability of front-end ports is useful when a new server is given access to the storage array.
A storage array can be monitored by a number of performance metrics, such as utilization rates of the various storage array components, I/O response time, and cache utilization. A high utilization rate of storage array components may lead to performance degradation.
A storage array is usually a shared resource, which may be exposed to security breaches. Monitoring security helps to track unauthorized configuration of the storage array or corruption of data and ensures that only authorized users are allowed to access it.

## Slide 58: Accessibility Monitoring Example: Array Port Failure
HBA
HBA
HBA
HBA
HBA
HBA
SW2
SW1
H3
H2
H1
Hosts/Servers with Applications
Port
Storage Arrays
Port
Degraded
Degraded
Degraded
Notes: Failure of any component may affect the accessibility of one or more components due to their interconnections and dependencies, or it may lead to overall performance degradation.
Consider an implementation in a storage infrastructure with three servers: H1, H2, and H3. All the servers are configured with two HBAs, each connected to the storage array through two switches, SW1 and SW2, as shown in above figure. The three servers share two storage ports on the storage array. Path failover software has been installed on all three servers.
If one of the storage array ports fails, all the storage volumes that were accessed through the switch connected to that port may become unavailable, depending on the type of storage array. If the storage volume becomes unavailable, path failover software initiates a path failover. However, due to redundant ports, the servers continue to access data through another switch, SW2. The servers H1, H2, and H3 may experience degraded performance due to an increased load on the path through SW2.

## Slide 59: Accessibility Monitoring Example: HBA Failure
HBA
HBA
SW2
SW1
H3
Degraded
H2
H1
Hosts/Servers with Applications
HBA
HBA
HBA
HBA
Port
Storage Arrays
Port
Notes: In the same example, if a single HBA fails on server H1, the server experiences path failure as shown in figure. However, due to redundant HBAs, H1 can still access the storage device but it may experience degraded application response time (depends on I/O load).

## Slide 60: Accessibility Monitoring Example: Switch Failure
Storage Arrays
SW2
Hosts/Servers with Applications
SW1
Port
Port
All Hosts
Degraded
Notes: Consider a scenario in which a number of servers with two HBAs each are connected to the storage array through two switches, SW1 and SW2, as shown in figure. If SW1 fails, all the servers that were accessing the storage array through SW1 experience a path failure and data is redirected to SW2. The applications on all of the servers may experience degradation in response time
depending on I/O workload. In this case, the failure of a single component has affected multiple storage infrastructure components.

## Slide 61: Capacity Monitoring Example: Storage Array
SW1
New Server
Can the Array provide the required storage to the new server?
Hosts/Servers with Applications
SW2
HBA
HBA
Notes: This example illustrates the importance of monitoring the capacity of arrays.
In the scenario shown above each of the servers is allocated storage on the storage array. When a new server is deployed in this configuration, the applications on the new servers have to be given access to the storage devices from the array through switches SW1 and SW2. Monitoring the available capacity on the array helps to proactively decide whether the array can provide the required storage to the new server. Other considerations include the availability of ports on SW1 and SW2 to connect to the new server as well as the availability of storage ports to connect to the switches. Proactive monitoring also helps to identify the availability of an alternate fabric or an array to connect to the server.

## Slide 62: Capacity Monitoring Example: File System Space
File System
File System
Warning: FS is 66% Full
Critical: FS is 80% Full
Extend FS
No Monitoring
FS Monitoring
Notes: This example illustrates the importance of monitoring file system capacity on servers. If file system capacity monitoring is not implemented, as shown in figure, and the file system is full, the application most likely will not function properly. Monitoring can be configured to issue a message when thresholds are reached on file system capacity. For example, when the file system reaches 66 percent of its capacity a warning message is issued, and a critical message when the file system reaches 80 percent of its capacity. This enables the administrator to take action manually or automatically to extend the file system before the full condition is reached. Proactively monitoring the file system can prevent application outages caused by a lack of file system space. Applying trend analysis provides even more proactive help in dealing with such a scenario.

## Slide 63: Performance Monitoring Example: Array Port Utilization
Storage Arrays
SW2
Hosts/Servers with Applications
SW1
H3
H2
H1
New Server
H4
HBA
HBA
HBA
HBA
HBA
HBA
HBA
HBA
100%
Port Util. %
H1 + H2 + H3
Notes: This example illustrates the importance of monitoring performance metrics on storage arrays.
In this example, servers H1, H2, and H3 (with two HBAs each) are connected to the storage array through switches SW1 and SW2. The three servers share the same storage ports on the storage array. A new server H4 running an application with high work load, has to be deployed to share the same storage ports as H1, H2, and H3. Monitoring array port utilization ensures that the new server does not adversely affect the performance of the other servers. In this example, utilization for the shared ports is shown by the solid and dotted lines in the line graph for the storage ports. Notice that the port represented by a solid line is close to 100 percent utilization. If the actual utilization of both ports prior to deploying the new server is closer to the dotted line, there is room to add the new server. Otherwise, deploying the new server will affect the performance of all servers.

## Slide 64: Performance Monitoring Example: Servers CPU Utilization
Critical: CPU Usage above 90% for the last 90 minutes
Notes: Most servers offer tools that enable interactive monitoring of server CPU usage. For example, Windows Task Manager displays CPU and memory usage, as shown in slide. These interactive tools are useful only when a few servers need to be managed. A storage infrastructure requires performance monitoring tools that are capable of monitoring many servers simultaneously. Although it is inefficient to monitor hundreds of servers continuously in real-time, this monitoring often uses polling servers at regular intervals. These monitoring tools must have the capability to send alerts whenever the CPU utilization exceeds a specified threshold.

## Slide 65: Security Monitoring Example: Storage Array
Storage Array
SW2
Workgroup 1 (WG1)
SW1
Workgroup 2 (WG2)
WG2
Warning: Attempted replication of WG2 devices by WG1 user – Access denied
Replication Command
WG1
Notes: The example shown here illustrates the importance of monitoring security breaches in a storage array.
In this example, the storage array is shared between two workgroups, WG1 and WG2. The data of WG1 should not be accessible by WG2. Likewise, WG2 should not be accessible by WG1. A user from WG1 may try to make a local replica of the data that belongs to WG2. Usually, available mechanisms prevent such an action. However, if this action is not monitored or recorded, it is difficult to track such a violation of security protocols. Conversely, if this action is monitored, a warning message can be sent to prompt a corrective action or at least enable discovery as part of regular auditing operations.

## Slide 66: Alerting of Events
Alerting is an integral part of monitoring
Monitoring tools enables administrators to assign different severity levels for different events
Level of alerts based on severity
  Information alert: Provide useful information and may not require administrator intervention
    Creation of zone or LUN
  Warning alerts: Require administrative attention
    File systems becoming full/Soft media errors
  Fatal alert: Require immediate administrative attention
    Power failures/Disk failures/Memory failures/Switch failures
Notes: Alerting of events is an integral part of monitoring. There are conditions observed by monitoring, such as failure of power, disks, memory, or switches, which may impact the availability of services that requires immediate administrative attention. Other conditions, such as a file system reaching a capacity threshold or a soft media error, are considered warning signs, and may also require administrative attention.
Monitoring tools enables administrators to assign different severity levels for different conditions in the storage infrastructure. Whenever a condition with a particular severity level occurs, an alert is sent to the administrator or triggers a script, or opens an incident ticket to initiate a corrective action. Alert classifications can range from information alerts to fatal alerts.
Information alerts provide useful information that does not require any intervention by the administrator. Creation of zone or LUN is an example of an information alert.
Warning alerts require administrative attention so that the alerted condition is contained and does not affect accessibility. For example, when an alert indicates a soft media error on a disk that is approaching a predefined threshold value, the administrator can decide whether the disk needs to be replaced.
Fatal alerts require immediate attention because the condition may affect overall performance or availability. For example, if a disk fails, the administrator must ensure that it is replaced quickly.
Alerts can be assigned a severity level based on the impact of the alerted condition. Continuous monitoring, in conjunction with automated alerting, enables administrators to respond to failures quickly and proactively. Alerting provides information to prioritize administrator’s response to events.

## Slide 67: Lesson Summary
Key concepts covered in this module are:
Storage infrastructure components that should be monitored
Parameters of monitoring:
  Accessibility
  Capacity
  Performance
  Security
Monitoring examples
Notes: These are the key points covered in the module. Please take a moment to review them.

## Slide 68: Lesson: Managing Storage Infrastructure
Upon completion of this lesson, you will be able to:
Describe the storage management activities
  Availability management
  Capacity management
  Performance management
  Security management
  Reporting
Describe the storage infrastructure management challenges
Define storage management initiative specifications (SMI-S)
Notes: The objectives for this lesson are shown here. Please take a moment to review them.

## Slide 69: Storage Infrastructure Management Activities
Availability
Capacity
Performance
Security
Reporting
Network
HBA
Port
HBA
Cluster
Keep Alive
Client
Port
Storage Arrays
Hosts/Servers with Applications
SAN
IP
Notes: All the management tasks in a storage infrastructure can be broadly categorized into availability management, capacity management, performance management, security management, and reporting.
The major storage infrastructure components that should be managed are
  Servers, databases and applications
  Network ((SAN) and IP Networks (switches, routers, bridges))
  Storage Arrays

## Slide 70: Availability Management
Establishing guidelines for all configurations based on service levels
To ensure high availability by:
  Eliminating single points of failure deploy/configure
    Two or more HBAs
    Multipathing software
    RAID protection
    Redundant Fabrics
  Configuring data backup and replication
  Deploying virtualized environment
Notes: The critical task in availability management is establishing a proper guideline for all configurations to ensure availability based on service levels. For example, when a server is deployed to support a critical business function, the highest availability standard is usually required. This is generally accomplished by
Deploying two or more HBAs, multipathing software with path failover capability, and server clustering.
Connecting the server to the storage array using at least two independent fabrics and switches that have built-in redundancy.
Storage devices with RAID protection are made available to the server using at least two front-end ports.
In addition, these storage arrays should have built-in redundancy for various components, support backup, and local and remote replication. Virtualization technologies have significantly improved the availability management task. With virtualization in place resources can be dynamically added or removed to maintain the availability

## Slide 71: Capacity Management
Ensures adequate availability of resources based on their service level requirements
Manages resource allocation
Key activities
  Trend and Capacity analysis
  Storage provisioning
  Examples
    Host: Host configuration and file system/DB management
    SAN: Unused Ports and Zoning
    Storage: Device configuration and LUN Masking
Notes: The goal of capacity management is to ensure adequate availability of resources for all services based on their service level requirements. Capacity management provides capacity analysis, comparing allocated storage to forecasted storage on a regular basis. It also provides trend analysis of actual utilization of allocated storage and rate of consumption, which must be rationalized against storage acquisition and deployment timetables. Storage provisioning is an example of capacity management. It involves activities such as device configuration and LUN masking on the storage array and zoning configuration on the SAN and HBA components. Capacity management also takes into account the future needs of resources, and setting up monitors and analytics to gather such information.

## Slide 72: Performance Management
Configure/design for optimal operational efficiency
Performance analysis
  Identify bottlenecks
  Fine tuning for performance enhancement
Key activities
  Host: Volume management, database/application layout
  SAN: Designing sufficient ISLs with adequate bandwidth
  Storage Array: Choice of RAID type and layout of devices (LUNs) and choice of front-end ports
Notes: Performance management ensures the optimal operational efficiency of all components. Performance analysis is an important activity that helps to identify the performance of storage infrastructure components. This analysis provides the information — whether a component is meeting expected performance levels. Several performance management activities are initiated for the deployment of an application or server in the existing storage infrastructure. Every component must be validated for adequate performance capabilities as defined by the service levels. For example, to optimize expected performance levels, activities on the server such as the volume configuration, designing the database, application layout configuration of multiple HBAs, and intelligent multipathing software must be fine-tuned. The performance management tasks on a SAN include designing sufficient ISLs in a multi-switch fabric with adequate bandwidth to support the required performance levels. The storage array configuration tasks include selecting the appropriate RAID type and LUN layout, front-end and back-end ports, and LUN accessibility (LUN masking) while considering the end-to-end performance.

## Slide 73: Security Management
Prevent unauthorized activities or access
Key activities
  Server:
    Creation of user logins, user privileges
  SAN:
    Configuration of zoning to restrict unauthorized HBA’s
  Storage Array:
    LUN masking prevents data corruption on the storage array by restricting host access to a defined set of logical devices
Notes: Security management prevents unauthorized access and configuration of storage infrastructure components. For example, while deploying an application or a server, the security management tasks include managing user accounts and access policies, that authorizes users to perform role-based activities. The security management tasks in the SAN environment include configuration of zoning to restrict an HBA’s unauthorized access to the specific storage array ports. LUN masking prevents data corruption on the storage array by restricting host access to a defined set of logical devices.

## Slide 74: Reporting
Reporting on a storage infrastructure involves keeping track and gathering information from various components/processes
This information is compiled to generate reports for trend analysis, capacity planning, chargeback, performance, and to illustrate basic configuration of storage infrastructure components
Also used to provide information for Capacity, Availability, Security and Performance Management
Notes: It is difficult for businesses to keep track of the resources they have in their data centers, for example, the number of storage arrays, the array vendors, how the storage arrays are being used, and by which applications. Reporting on a storage infrastructure involves keeping track and gathering information from various components/processes. This information is compiled to generate reports for trend analysis, capacity planning, chargeback, performance, and to illustrate the basic configuration of storage infrastructure components. Capacity planning reports also contain current and historic information about utilization of storage, file system, database tablespace, and ports. Configuration or asset management reports include details about device allocation, local or remote replicas, and fabric configuration; and list all equipment, with details such as their value, purchase date, lease status, and maintenance records. Chargeback reports contain information about the allocation or utilization of storage infrastructure components by various departments or user groups. Performance reports provide details about the performance of various storage infrastructure components.

## Slide 75: Managing Example: Storage Allocation to New Host
Storage Allocation Tasks
1
Mapped
Storage Array
SAN
Zoning
Allocate
Volumes
Hosts
SAN
Volume
Management
File
System
Management
File/
Database
Management
Server
Host
Allocated
Volume
Group
Allocated
Host
Used
File System/
Database
Used
HBA
Front-End
Ports
Configure
New
Volumes
Assign
Volumes
Ports
Configured
1
2
3
3
2
1
1
Unconfigured
Notes: Consider a deployment of the new RDBMS server to the existing non-virtualized SAN environment. Following are the management activities carried out to allocate storage to new host.
Storage array management activities: The administrator needs to configure new volumes on the array then assign those volumes to the array front-end ports. Administrator also need to configure LUN masking on the storage array by assigning new servers and volumes to the storage group.
Server management activities: The installation and configuration of the HBA hardware (at least two to ensure redundancy) and driver has to be performed on the server before it can be physically connected to the SAN. Server reconfiguration may be required, depending on the operating system installed on the server, so it can recognize the new devices. Optional multipathing software can be installed on the server, which might require additional configuration. The volume management tasks on the host involve the creation of volume groups, logical volumes, and file systems. On the application side, whether it is a database or any other type of application, administrator tasks include installation of the database or the application on the logical volumes or file systems that were created
SAN management activities: The administrator configures the fabric’s zoning policies for the new server’s HBA, allowing the host to access the storage array port via the specific HBA port. This operation should probably be done at two or more fabrics to ensure redundant paths between the hosts and the storage array. The switches should have free ports available for the new server, and the array port utilization is validated against the required I/O performance of the server if the port is shared between many servers.

## Slide 76: Managing Example: Configuring File System Space
No
Yes
No
Correlate File System with Volume Group or Disk Group.
Is there free space available in the VG?
Execute Command to extend File System.
Is the File System being replicated?
Yes
Does the Array have configured LUNs that can be allocated?
Allocate LUNs to server
Execute Command to extend VG.
Yes
Does the array have unconfigured capacity?
Configure new LUNs
Identify/Procure another array
No
Does the server have additional devices available?
No
Yes
No
Done
Yes
Perform tasks to ensure that the larger File System and Volume Group are replicated correctly
Notes: To prevent a file system from running out of space, administrators need to perform tasks to offload data from the existing file system. This includes deleting unwanted files and offloading files to backup media that have not been accessed for a long time. Alternatively, an administrator can extend the file system to increase its size and avoid an application outage. The dynamic extension of file systems or a logical volume is dependent on the specific operating system or a logical volume manager (LVM) in use, and the volume management tasks detailed in the previous example may need to be commenced.
The steps and considerations for the extension of file systems are illustrated in this flow chart.
While extending the file system also consider whether the volume is replicated or not. If the application uses remote or local replication for business continuity operations and a new device is added to the volume group, it must be ensured that the new device is replicated as well. The steps include:
  Correlate the file system to the logical volume and volume group if an LVM is in use
  If there is enough space in the volume group, extend the file system
  If the volume group does not have space, does the server have access to other devices which can be used to extend the volume group, extend the volume group, or extend the file system
  If the server does not have access to additional devices, allocate additional devices to the server. Many or all of the steps discussed in Scenario 1 have to be used to do this (configure new LUNs on array, LUN mask, reconfigure server to recognize new devices, extend volume group, extend file system)

## Slide 77: Managing Example: Chargeback Report
Storage Arrays
SW2
Hosts/Servers
with Applications
SW1
LV
VG
FS
DB App
LV
VG
FS
DB App
Production
Local
Replica
Local
Replica
Production
Remote
Replica
Remote
Replica
Unallocated
Unallocated
Notes: This example explores the storage infrastructure management tasks necessary to create a specific report.
Figure shows a configuration deployed in a storage infrastructure. Three servers with two HBA each are connected to a storage array via two switches, SW1 and SW2. Individual departmental applications are running on each of the servers, and array replication technology is used to create local and remote replicas. The production volume is represented as A, local replica volume as B and the remote replica volume as C. A report documenting the exact amount of storage resources used by each application is created using a chargeback analysis for each department. If the unit for billing is based on the amount of raw storage (usable capacity plus protection provided) configured for an application used by a department, the exact amount of raw space configured must be reported for each application.
A sample report is shown at the bottom of Figure. The report shows the information for two applications, Payroll_1 and Engineering_1.

## Slide 78: Managing Example: Chargeback Report - Tasks
Correlate Application  File Systems  Logical Volumes  Volume Groups  Host Physical Devices  Array Devices (Production)
Determine Array Devices used for Local Replication
Determine Array Devices used for Remote Replication
Determine storage allocated to application based on the size of the array devices
Determine RAID type for Production/Local Replica/Remote Replica devices
Determine the total raw space allocated to application for production/local replication/remote replication
Notes: The first step to determine chargeback costs associated with an application is to correlate the application with the exact amount of raw storage configured for that application.
As shown here the Payroll_1 application storage space is traced from file systems to logical volumes to volume groups to the LUNs on the array. When the applications are being replicated, the storage space used for local replication and remote replication is also identified. In the example shown, the application is using “Source Vol 1 and Vol 2” (in Array 1). The replication volumes are “Local Replica Vol 1 and Vol 2” (in Array 1) and “Remote Replica Vol 1 and Vol 2” (in the Remote Array). As the application grows, more file systems and storage space may be used; therefore, configuration changes are inevitable. Before a new report is generated, a correlation of the application to the array LUNs should be done to ensure that the most current information is used.

## Slide 79: Chargeback Report – Tasks, continued
Compute the chargeback amount based of price/raw GB of storage
Repeat steps for each application and create report
Example:
  Allocated Storage (2 Source Vols) = 2*50GB = 100 GB
  For Local Replica = 100 GB
  For Remote Replica = 100 GB
  Production Volume Raw capacity (RAID 1) = 200 (100 *2) GB
  Local Replica Raw Capacity (un-protected) = 100 GB
  Remote Replica Raw capacity (RAID 5) = 125 GB (4+1 RAID 5)
  Total Raw capacity used by the applications = 425 GB
  Chargeback cost = 425 * $0.25 = $106.25
Notes: The amount of storage allocated to the application can be easily computed after the array devices are identified. In this example, if we assume that Source Vol 1 and Vol 2 are each 50 GB in size, the storage allocated to the application is 100 GB (50 + 50). The allocated storage for replication is 100 GB for local replication and 100 GB for remote replication. From the allocated storage, the raw storage configured for the application is determined based on the RAID protection that is used for various array devices. If the Payroll_1 application production volumes are RAID 1 protected, the raw space used by the production volumes is 200 GB. If we assume that the local replicas are on unprotected volumes and the remote replicas are protected with a RAID 5 configuration, the raw space used by local replicas is 100 GB, and 125 GB by the remote replicas. Therefore, the total raw capacity used by the Payroll_1 application is 425 GB. If provisioned capacity is equal to the consumed capacity, the total cost of storage will be $106.25 (assume cost per GB of storage is $0.25). This exercise must be repeated for each application in the enterprise to generate the required report.
Chargeback reports can be extended to include a pre-established cost for other resources, such as the number of switch ports, HBAs, and array ports in the configuration. Chargeback reports are used by data center administrators to ensure that storage consumers are well aware of the costs of the service levels they have requested.

## Slide 80: Storage Infrastructure Management Challenges
Oracle
Informix
MS SQL
Brocade
Cisco
SUN
IBM
HP
NetApp
EMC
Hitachi
Applications
Databases
UNIX
WIN
Servers
MF
Network
SAN
IP
Storage Arrays
TLU
NAS
SAN
DAS
CAS
Notes: Monitoring and managing today’s complex storage infrastructure environment has become very challenging due to the number and variety of storage arrays, networks, servers, databases, and applications.
Variety of storage devices varying in capacity, performance, and protection methodologies
Storage infrastructures deploy both SAN and IP networks
Servers with different operating systems such as UNIX, LINUX, Windows, or mainframe
These products and services from multiple vendors may have interoperability issues which add complexity in managing storage infrastructure. All of these components are provided with vendor-specific tools to manage and monitor them.
However, in an environment where multiple tools are in use, it is difficult to understand the overall status of all the components and to be able to provide cross-component failure, impact, and behavior analysis. Ideally, monitoring tools should be able to correlate information from all components in one place. That way, analysis and actions are taken based on a holistic, end-to-end view of the environment and corrective measures can be taken proactively.

## Slide 81: Without Standards…
No common access layer between managed objects and applications – vendor specific
No common data model
No interconnect independence
Multi-layer management difficulty
Legacy systems can not be accommodated
No multi-vendor automated discovery
Policy-based management is not possible across entire classes of devices
Network Management
Applications Management
Host Management
Storage Management
Database Management
Interoperability!
Notes: SAN Administrators have often been faced with the dilemma of integrating multi-vendor hardware and software under a single management umbrella. It is relatively easy for administrators to monitor individual switches. But monitoring a set of switches together, and correlating data, is a more complex challenge.
Users and administrators want the flexibility to select the most suitable products for a particular application or set of applications and then easily integrate those products into their computing environments. Traditionally, this has not been possible for the reasons listed above.
Without standards, policy-based management is not possible across entire classes of devices. This poses a big dilemma for diverse environments.

## Slide 82: Developing an Ideal Solution
Monitoring/Management
Engine
One UI
Applications
Databases
UNIX
WIN
Servers
MF
Network
SAN
IP
Storage Arrays
TLU
NAS
SAN
DAS
CAS
Storage Arrays
Network
Servers, Databases,
Applications
Notes: There is value in building a central monitoring and management system that can work in a multi-vendor storage environment and is able to create an end-to-end view that includes various technology stacks and different deployment configurations. The other benefit of end-to-end monitoring is the ability to correlate one component’s behavior to others. This will be helpful to debug or analyze a problem, where looking into each component individually might not be enough.
The infrastructure management system
Should be able to gather information from all of the components and manage them through a single-user interface
It should also be able to perform root cause analysis and indicate the impact of individual component failure on various business applications/processes.
It must provide a mechanism to notify administrators about various events using methods such as e‑mail and SNMP traps, and generate monitoring reports or run automated scripts for task automation.
The ideal solution must be based on industry standards, leveraging common APIs, data model terminology, and taxonomy. This enables the implementation of policy-based management across heterogeneous classes of devices, services, applications, storage infrastructure, and deployed topologies.
Without standards, a policy-based management is not possible across entire classes of devices.

## Slide 83: Storage Management Initiative (SMI)
SMI Specification (SMI-S): Created by the SNIA
  Objective: “To unify the management of enterprise-computing environments that were traditionally administered through disparate vendor specific technologies and platforms”
  Forms an abstracted model
    Physical and logical components mapped
    For standardized, effective, end-to-end control of storage resources
  Eliminates need for development of vendor-proprietary management interfaces
  Vendors can build new features and functions to manage storage subsystems and expose them via SMI-S
  Lead to easier, faster deployment, and accelerated adoption of policy-based storage management frameworks
Notes: The Storage Networking Industry Association (SNIA) has been engaged in an initiative to develop a common, open storage, and SAN management interface. The initiative is created to enable broad interoperability among heterogeneous storage vendor systems and better management solutions of these environments. This initiative is known as the Storage Management Initiative (SMI).
The SMI Specification, known as SMI-S, offers substantial benefits to users and vendors. SMI-S is based on Web-Based Enterprise Management (WBEM) technology and Common Information Model (CIM). It forms a normalized, abstracted model to which a storage infrastructure’s physical and logical components can be mapped, and can be used by management applications such as storage resource management, device management, and data management for standardized, effective, end-to-end control of storage resources.
Using SMI-S, the storage software developers have a single normalized and unified object model comprising the detailed document that contains information about managing the breadth of SAN components. Moreover, SMI-S eliminates the need for development of vendor-proprietary management interfaces, enabling vendors to focus on added value functions and offering solutions in a way that will support new devices as long as they adhere to the standard. The SMI-S-compliant products lead to easier, faster deployment, and accelerated adoption of policy-based storage management frameworks.
The CIM is a language and methodology for describing management elements. A CIM schema includes models for systems, applications, networks, and devices. This schema also enables applications from different vendors working on different platforms to describe the management data in a standard format so that it can be shared among a variety of management applications. WBEM is an initiative in the Distributed Management Task Force (DMTF). It is a set of technologies that enables interoperable management of an enterprise.

## Slide 84: Enterprise Management Platforms (EMPs)
Applications for managing and monitoring an enterprise storage infrastructure
  Proactive monitoring of many data center components
  Alerting of errors reported by those components
Provides necessary management functionality
  Can often launch proprietary management applications
  Automatic provisioning
  Scheduling of maintenance activities
Example
  EMC ControlCenter
Notes: Enterprise management platforms (EMPs) are complex applications or suites of applications that provide an integrated solution for managing and monitoring an enterprise storage infrastructure. These applications proactively monitor many storage infrastructure components and are designed to alert users about any problems or the approach of a predefined threshold in monitored components.
These alerts are either shown on a console depicting the faulty component in a different color, or they can be configured to send the alert by e‑mail or other means. In addition to monitoring functionality, the EMPs can provide the necessary management functionality, which can be natively implemented by code embedded into the EMP or may involve launching the proprietary management utility supplied by the target component manufacturer.
Other functionality enables easy scheduling of operations that must be performed regularly, such as the provisioning of resources, configuration management, and fault investigation. These platforms also provide extensive analytical, remedial, and reporting capabilities to ease storage infrastructure management. EMC ControlCenter is an example of an EMP implementation.

## Slide 85: Lesson Summary
Key concepts covered in this module are:
Storage management activities
  Availability management
  Capacity management
  Performance management
  Security management
  Reporting
Storage infrastructure management challenges
SMI Specification (SMI-S)
Notes: These are the key points covered in the module. Please take a moment to review them.

## Slide 86: Module Summary
Key points covered in this module:
Storage infrastructure components that should be monitored and managed
Parameters monitored:
  Accessibility/Capacity/Performance/Security
Storage management activities
  Availability management/Capacity management/Performance management/Security management/Reporting
SMI Specification (SMI-S)
Notes: These are the key points covered in this module. Please take a moment to review them.

## Slide 87: Check Your Knowledge
List the parameters for monitoring storage infrastructure components?
List the storage infrastructure components that need to be managed?
What are the purpose of reporting?
What Storage Array tasks need to be performed in order to allocate storage to a new server?
What SAN Management tasks need to be performed in order to allocate storage to a new server?
